## Slide 1: Smoke transport modeling: validation study
International Aircraft Systems Fire Protection Forum
May 14-15, 2019
EASA, Cologne, Germany
Changmin Cao, Ke Wang, Jordan Snyder, Jason Wegge, Vaidya Sankaran, May Corn
United Technologies Research Center
Amanda Daly, Kenneth Bell, Terry Simpson
Kidde Fire Protection Systems

## Slide 2: Detection system design tool development
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Objective:
develop a model-based tool to augment DETECTION SYSTEM DESIGN and streamline Certification process
Benefits:
Virtual tests
Parametric variations
Physical insight
Accelerate design & development
Reduce number of flight certification tests
Reduce cost of certification
Cargo Bay Detection System Design Tool

## Slide 3: Components of the model-based design tool
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Smoke Generator
Smoke Transport
Detection System Response
Smoke transport takes up a large portion of the detection system response time.
Predicting smoke transport accurately is key to the design tool robustness.

## Slide 4: design tool development status
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
May 2018: Developed approach to model smoke generator dispersion
Nov 2018: Demonstrated method to simulate smoke transport and predict alarm times in a cargo bay
Today’s focus:
Validate development of buoyant plume from the smoke generator
Investigate the effect of ceiling height on the buoyant plume and ceiling jet

## Slide 5: Smoke generator characterization set-UP
Enclosed room
Option to turn ventilation off during tests
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
UTRC Multiphase Injection Lab
Raised SG
Ceiling height comparable to cargo bay with low ceilings
Ground SG
Ceiling height comparable to cargo bay with high ceilings
Smoke Generator (SG) Placement

## Slide 6: test methods
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Detailed characterization methodology used to acquire data sets for model validation
One set of smoke generator settings tested
Velocity and temperatures measured at multiple increments along plume centerline
Multi-channel data acquisition system sampled at 10 Hz
Tests repeated on different days
Experimental error within 10%
Vane anemometer cross-checked with hot film anemometer

## Slide 7: CFD model set-Up
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
3-D, unsteady solver from NIST (version 6.6.0)
Large Eddy Simulation (LES)
Fire Dynamics Simulator (FDS)
Parametric Study
Mesh size and distribution
SG exit plane boundary conditions
Turbulence intensity
Turbulence model
Average number of hexahedral cells: 40 million
Non-uniform sized mesh
Input conditions: measurements at SG exit plane
Parallel computing cluster: ~60 cores
Wall clock time: 80 hours
Simulation Settings
Over 30 simulations conducted to identify best methodology to simulate buoyant plume

## Slide 8: Measurements: plume centerline
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Similar plume centerline profiles obtained for the two ceiling heights
Ground SG
Raised SG
Plume Centerline Temperature
Ground SG
Ceiling
Raised SG
Ceiling
Plume Centerline Velocity
Ground SG
Ceiling
Raised SG
Ceiling

## Slide 9: Cfd: centerline temperature movies
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Similar temperature profiles along the plume centerline at same comparable heights
Ground SG
Raised SG
0
Max. Temperature

## Slide 10: Cfd: total velocity magnitude movies
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Similar velocity profiles along the plume centerline at same comparable heights
Ground SG
Raised SG
0
Max. Velocity

## Slide 11: Cfd validation: plume centerline
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
CFD accurately predicts the measured centerline data for both plume heights
Plume Centerline Velocity
Ground SG
Ceiling
Raised SG
Ceiling
Plume Centerline Temperature
Ground SG
Ceiling
Raised SG
Ceiling

## Slide 12: Ceiling jet correlation
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Experimentally-derived correlations for ceiling jet flow*
(beyond the turning region at the ceiling)
*Alpert, R.L., Fire Tech., 8, 181 (1972)
H
r
Turning
region
For r/H > 0.18
For r/H > 0.15
Where is the total energy release rate in kW
is the temperature in
is the velocity in m/s
are the radial position and plume height in meters

## Slide 13: Cfd & correlation comparison: Ceiling jet temperature and velocity
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Ceiling Jet Temperature
Ceiling Jet Velocity
CFD results: Ground SG
CFD results: Raised SG
Correlation: Ground SG
Correlation: Raised SG
CFD simulations confirms correlation trends for ceiling jet temperatures and velocities
velocity
r/H
temperature
r/H

## Slide 14: Detection system design tool development
International Aircraft Systems Fire Protection Forum, May 14-15, 2019, Cologne, Germany
Next step
Summary
Developed CFD simulation / test methodologies to simulate and validate the buoyant plume
Validated CFD simulations of buoyant plumes under two ceiling heights for:
Plume centerline temperatures & velocities Ceiling jet temperatures & velocities
Validate the detector alarm times predicted by the tool with acquired test data
Detection System Response
Smoke Transport
Predictive modeling tool for smoke detection systems